## Daily_Master
date | sockets | front_ac | back_ac | server | total | front_ac_used | front_ac_saved | front_ac_baseline | back_ac_used | back_ac_saved | back_ac_baseline | lib_front_kwh | lib_hall_kwh | lib_back_kwh | day_number | day_name | is_weekend | total_lights | total_ac_saved | total_ac_baseline | savings_rate_pct | carbon_emitted_kg | carbon_saved_kg | sockets_pct | front_ac_pct | back_ac_pct | server_pct | is_active
2025-12-08 | 47.225 | 36.364 | 36.395 | 6.722 | 126.706 | 40.968 | 21.865 | 62.833 | 40.824 | 17.509 | 58.333 | 0 | 0 | 0 | 1 | Mon | FALSE | 0 | 39.374 | 121.166 | 32.5 | 103.899 | 32.287 | 37.3 | 28.7 | 28.7 | 5.3 | TRUE
2025-12-09 | 40.732 | 25.657 | 33.655 | 6.826 | 106.87 | 28.631 | 34.203 | 62.833 | 37.75 | 20.584 | 58.333 | 0 | 0 | 0 | 2 | Tue | FALSE | 0 | 54.787 | 121.166 | 45.22 | 87.633 | 44.925 | 38.1 | 24 | 31.5 | 6.4 | TRUE
2025-12-10 | 48.278 | 32.737 | 30.211 | 7.027 | 118.253 | 36.518 | 26.315 | 62.833 | 33.578 | 24.755 | 58.333 | 0 | 0 | 0 | 3 | Wed | FALSE | 0 | 51.07 | 121.166 | 42.15 | 96.967 | 41.877 | 40.8 | 27.7 | 25.5 | 5.9 | TRUE
2025-12-11 | 46.601 | 27.118 | 28.925 | 7.093 | 109.737 | 30.598 | 32.235 | 62.833 | 32.341 | 25.993 | 58.333 | 0 | 0 | 0 | 4 | Thu | FALSE | 0 | 58.228 | 121.166 | 48.06 | 89.984 | 47.747 | 42.5 | 24.7 | 26.4 | 6.5 | TRUE
2025-12-12 | 39.951 | 26.185 | 25.32 | 6.867 | 98.323 | 29.724 | 33.109 | 62.833 | 27.787 | 30.546 | 58.333 | 1.1364 | 8.7622 | 6.6355 | 5 | Fri | FALSE | 16.5341 | 63.655 | 121.166 | 52.54 | 80.625 | 52.197 | 40.6 | 26.6 | 25.8 | 7 | TRUE
2025-12-13 | 19.685 | 15.04 | 3.979 | 6.895 | 45.599 | 17.685 | 45.148 | 62.833 | 4.278 | 54.055 | 58.333 | 0 | 0 | 0 | 6 | Sat | TRUE | 0 | 99.203 | 121.166 | 81.87 | 37.391 | 81.346 | 43.2 | 33 | 8.7 | 15.1 | TRUE
2025-12-14 | 26.733 | 0 | 0 | 6.961 | 33.694 | 0 | 62.833 | 62.833 | 0 | 58.333 | 58.333 | 0 | 0 | 0 | 7 | Sun | TRUE | 0 | 121.166 | 121.166 | 100 | 27.629 | 99.356 | 79.3 | 0 | 0 | 20.7 | TRUE

## Summary
Metric | Value
Period | 2025-12-08 to 2025-12-14
Total Days | 7
Active Days | 7
Weekend / Off Days | 0
Total Consumption (kWh) | 639.18
Total Energy Saved (kWh) | 487.48
Overall Savings Rate (%) | 57.5
Total Carbon Emitted (kg CO2) | 524.13
Total Carbon Saved (kg CO2) | 399.74
Average Daily - All Days (kWh) | 91.31
Average Daily - Active Days Only (kWh) | 91.31
Peak Day | 08 Dec 2025
Peak Consumption (kWh) | 126.71
Lowest Active Day | 14 Dec 2025
Lowest Active Consumption (kWh) | 33.69
Sockets Total (kWh) | 269.2
Front AC Total (kWh) | 163.1
Back AC Total (kWh) | 158.49
Server Room Total (kWh) | 48.39
All Lights Total (kWh) | 16.53

## Forecast_7Day
date | day_number | day_name | is_weekend | forecast_kwh | upper_kwh | lower_kwh | method
2025-12-15 | 8 | Mon | FALSE | 31.1 | 37.89 | 24.31 | Linear Regression
2025-12-16 | 9 | Tue | FALSE | 20 | 27.4 | 20 | Linear Regression
2025-12-17 | 10 | Wed | FALSE | 20 | 28.08 | 20 | Linear Regression
2025-12-18 | 11 | Thu | FALSE | 20 | 28.82 | 20 | Linear Regression
2025-12-19 | 12 | Fri | FALSE | 20 | 29.6 | 20 | Linear Regression
2025-12-20 | 13 | Sat | TRUE | 4 | 6.08 | 4 | Linear Regression
2025-12-21 | 14 | Sun | TRUE | 4 | 6.25 | 4 | Linear Regression

## Historical
date | day_number | day_name | actual_kwh | is_active
2025-12-08 | 1 | Mon | 126.706 | TRUE
2025-12-09 | 2 | Tue | 106.87 | TRUE
2025-12-10 | 3 | Wed | 118.253 | TRUE
2025-12-11 | 4 | Thu | 109.737 | TRUE
2025-12-12 | 5 | Fri | 98.323 | TRUE
2025-12-13 | 6 | Sat | 45.599 | TRUE
2025-12-14 | 7 | Sun | 33.694 | TRUE

## Forecast_Assumptions
Assumptions
Forecast built using active (weekday) days only — Dec 08–12
Method selected: Linear Regression (lowest MAPE: 20.26%)
Weekend consumption adjusted to 20% of weekday forecast (based on Dec 13–14 observed behavior)
Server room load excluded from trend — treated as fixed baseline (~6.9 kWh/day)
Forecast accuracy improves with more historical data — R² will increase beyond 7 data points
Confidence band: ±1.5 standard errors of the regression